## Sheet1
PANEL *1LE” VOLTS: 120/208V PHASE: 3 Al.C.. RATING: 10,000 AMP MAIN: MLO MOUNTING: SURFACE WIRE: 4 BUSSING: 225AMP
LOAD | * | A-VA | B-VA | C-VA | BKR | CT | CT | BKR | A-VA | B-VA | C-VA | * | LOAD
FRONT DESK RECEPTACLE | R | 720 |  |  | 20/1 | 1 | 2 | 20/1 | 1080 |  |  | R | VESTIBULE RECEPTACLE
FRONT DESK RECEPTACLE | R |  | 360 |  | 20/1 | 3 | 4 | 20/1 |  | 360 |  | R | LOBBY RECEPTACLE:
FRONT DESK RECEPTACLE | R |  |  | 360 | 20/1 | 5 | 6 | 20/1 |  |  | 360 | R | LOBBY RECEPTACLE:
FRONT DESK RECEPTACLE | R | 360 |  |  | 20/1 | 7 | 8 | 20/1 | 540 |  |  | R | MEETING ROOM #1 RECEPTACLE
SUITE SHOP RECEPTACLE | R |  | 360 |  | 20/1 | 9 | 10 | 20/1 |  | 540 |  | R | MEETING ROOM #1 RECEPTACLE
SUITE SHOP RECEPTACLE | R |  |  | 360 | 20/1 | 11 | 12 | 20/1 |  |  | 360 | R | MEETING ROOM #1 RECEPTACLE
FRONT DESK RECEPTACLE | R | 540 |  |  | 20/1 | 13 | 14 | 20/1 b | 540 |  |  | R | SITE RECEPTACLE
ELECTRIFIED LOCK | R |  | 360 |  | 20/1 | 15 | 16 | 20/1 b |  | 720 |  | R | SITE RECEPTACLE
MOTORIZED SCREEN | R |  |  | 500 | 20/1 | 17 | 18 | 20/1 |  |  |  |  | SPARE
MOTORIZED SCREEN | R | 500 |  |  | 20/1 | 19 | 20 | 20/1 |  |  |  |  | SPARE
SPARE |  |  |  |  | 20/1 | 21 | 22 | 20/1 |  |  |  |  | SPARE
SPARE |  |  |  |  | 20/1 | 23 | 24 | 20/1 |  |  |  |  | SPARE
SPARE |  |  |  |  | 20/1 | 25 | 26 | 20/1 |  |  |  |  | SPARE
SPARE |  |  |  |  | 20/1 | 27 | 28 | 20/1 |  |  |  |  | SPARE
SPARE |  |  |  |  | 20/1 | 29 | 30 | 20/1 |  |  |  |  | SPARE
SPACE |  |  |  |  | 20/1 | 31 | 32 | 20/1 |  |  |  |  | SPARE
SPACE |  |  |  |  | 20/1 | 33 | 34 | 20/1 |  |  |  |  | SPARE
SPACE |  |  |  |  | 20/1 | 35 | 36 | 20/1 |  |  |  |  | SPARE
SPACE |  |  |  |  | 20/1 | 37 | 38 | 20/1 |  |  |  |  | SPARE
SPACE |  |  |  |  | 20/1 | 39 | 40 | 20/1 |  |  |  |  | SPARE
SPACE |  |  |  |  | 20/1 | 41 | 42 | 20/1 |  |  |  |  | SPARE
PHASE TOTALS: 4280 PHASE AMPERES: 35.6 *DEMAND LOAD CALCULATION: L=LIGHTING LOADS: C=CONTINUOUS LOADS, OTHER: M=MOTOR LOADS (INCL LGST): LARGEST, VA: R=RECEPTACLES: 1ST 10K: BALANCE: K=KITCHEN LOADS: ary: 0 N=NONCONTINUOUS LOADS, OTHER: (P=PANEL, INCL. IN ABOVE) 2700 22.5 1.25 1.25 1.00 0.25 1.00 0.50 1.00 1.00 1940 16.2 X 8920 =TOTAL CONNECTED LOAD,VA (FOR DEMAND LOAD SEE BELOW) oooo 8920 0 0 0 TOTAL N.E.C. DEMAND LOAD 0 VA 0.VA 0 VA 0 VA 8920 VA 0 VA 0 VA 0 VA 8920 VA NOTES:: a b PHOTOCELL ON/OFF TIMESWITCH ON/OFF 24.8 AMPERES

## CorrectedSheet
PANEL *1LE” VOLTS: 120/208V PHASE: 3 Al.C.. RATING: 10,000 AMP MAIN: MLO MOUNTING: SURFACE WIRE: 4 BUSSING: 225AMP
LOAD | * | A-VA | B-VA | C-VA | BKR | CT | CT | BKR | A-VA | B-VA | C-VA | * | LOAD
FRONT DESK RECEPTACLE | R | 720 |  |  | 20/1 | 1 | 2 | 20/1 | 1080 |  |  | R | VESTIBULE RECEPTACLE
FRONT DESK RECEPTACLE | R |  | 360 |  | 20/1 | 3 | 4 | 20/1 |  | 360 |  | R | LOBBY RECEPTACLE:
FRONT DESK RECEPTACLE | R |  |  | 360 | 20/1 | 5 | 6 | 20/1 |  |  | 360 | R | LOBBY RECEPTACLE:
FRONT DESK RECEPTACLE | R | 360 |  |  | 20/1 | 7 | 8 | 20/1 | 540 |  |  | R | MEETING ROOM #1 RECEPTACLE
SUITE SHOP RECEPTACLE | R |  | 360 |  | 20/1 | 9 | 10 | 20/1 |  | 540 |  | R | MEETING ROOM #1 RECEPTACLE
SUITE SHOP RECEPTACLE | R |  |  | 360 | 20/1 | 11 | 12 | 20/1 |  |  | 360 | R | MEETING ROOM #1 RECEPTACLE
FRONT DESK RECEPTACLE | R | 540 |  |  | 20/1 | 13 | 14 | 20/1 b | 540 |  |  | R | SITE RECEPTACLE
ELECTRIFIED LOCK | R |  | 360 |  | 20/1 | 15 | 16 | 20/1 b |  | 720 |  | R | SITE RECEPTACLE
MOTORIZED SCREEN | R |  |  | 500 | 20/1 | 17 | 18 | 20/1 |  |  |  |  | SPARE
MOTORIZED SCREEN | R | 500 |  |  | 20/1 | 19 | 20 | 20/1 |  |  |  |  | SPARE
SPARE |  |  |  |  | 20/1 | 21 | 22 | 20/1 |  |  |  |  | SPARE
SPARE |  |  |  |  | 20/1 | 23 | 24 | 20/1 |  |  |  |  | SPARE
SPARE |  |  |  |  | 20/1 | 25 | 26 | 20/1 |  |  |  |  | SPARE
SPARE |  |  |  |  | 20/1 | 27 | 28 | 20/1 |  |  |  |  | SPARE
SPARE |  |  |  |  | 20/1 | 29 | 30 | 20/1 |  |  |  |  | SPARE
SPACE |  |  |  |  | 20/1 | 31 | 32 | 20/1 |  |  |  |  | SPARE
SPACE |  |  |  |  | 20/1 | 33 | 34 | 20/1 |  |  |  |  | SPARE
SPACE |  |  |  |  | 20/1 | 35 | 36 | 20/1 |  |  |  |  | SPARE
SPACE |  |  |  |  | 20/1 | 37 | 38 | 20/1 |  |  |  |  | SPARE
SPACE |  |  |  |  | 20/1 | 39 | 40 | 20/1 |  |  |  |  | SPARE
SPACE |  |  |  |  | 20/1 | 41 | 42 | 20/1 |  |  |  |  | SPARE
PHASE TOTALS: 4280 PHASE AMPERES: 35.6 *DEMAND LOAD CALCULATION: L=LIGHTING LOADS: C=CONTINUOUS LOADS, OTHER: M=MOTOR LOADS (INCL LGST): LARGEST, VA: R=RECEPTACLES: 1ST 10K: BALANCE: K=KITCHEN LOADS: ary: 0 N=NONCONTINUOUS LOADS, OTHER: (P=PANEL, INCL. IN ABOVE) 2700 22.5 1.25 1.25 1.00 0.25 1.00 0.50 1.00 1.00 1940 16.2 X 8920 =TOTAL CONNECTED LOAD,VA (FOR DEMAND LOAD SEE BELOW) oooo 8920 0 0 0 TOTAL N.E.C. DEMAND LOAD 0 VA 0.VA 0 VA 0 VA 8920 VA 0 VA 0 VA 0 VA 8920 VA NOTES:: a b PHOTOCELL ON/OFF TIMESWITCH ON/OFF 24.8 AMPERES

## Google Vision Header Output
Vision | Tesseract
PANEL "LE VOLTS: 120/208V PHASE:3 Al.C. RATING: 10,000 AMP MAIN: MLO MOUNTING: SURFACE WIRE: 4 BUSSING: 225AMP | PANEL *1LE” VOLTS: 120/208V PHASE: 3 Al.C.. RATING: 10,000 AMP MAIN: MLO MOUNTING: SURFACE WIRE: 4 BUSSING: 225AMP